FY27 Planning Data Pulls

Jack Grahek — FM Director

Reports to Laura Moore, Sr. Director | 178 Stores | Jan 2025 – Feb 2026

Report Generated: February 12, 2026

## Executive Summary

| Stores | Ref TnT | HVAC TnT | Ref 90-Day | Avg Mo. Loss | 13-Mo Total |
| --- | --- | --- | --- | --- | --- |
| 178 | 86.59% | 92.58% | 87.36% | $818,964 | $10,646,537 |

## Key Insights

• Refrigeration Below Target: Ref TnT averaged 85.2% over 14 months — consistently below the 90% threshold. Year-over-year: ▲ +1.3%. Summer months (Jun–Aug) see the deepest dips.

• Seasonal Loss Pattern: Product loss peaks at $1,323,185 in Jul '25 and troughs at $545,048 in Feb '25. Summer loss is 2.4x winter levels.

• Regional Variance: Ken Christensen leads at 92.9% Ref TnT (only RM above target). Justin Burner trails at 84.74% — an 8-point gap representing the largest opportunity.

## Performance Charts

## Quarterly Summary

| Quarter | Ref TnT | HVAC TnT | Total Loss | Avg/Mo |
| --- | --- | --- | --- | --- |
| Q1 2025 | 85.3% | 96.7% | $1,998,179 | $666,060/mo |
| Q1 2026 | 86.4% | 92.3% | $909,726 | $454,863/mo |
| Q2 2025 | 85.0% | 96.0% | $2,758,195 | $919,398/mo |
| Q3 2025 | 83.5% | 94.2% | $3,087,744 | $1,029,248/mo |
| Q4 2025 | 86.5% | 94.5% | $2,094,372 | $698,124/mo |

## Regional Manager Performance

| Regional Manager | Stores | Ref TnT | 90-Day | Trend | HVAC |
| --- | --- | --- | --- | --- | --- |
| Justin Burner | 29 | 84.74% | 83.88% | ▲ +0.9% | 91.06% |
| Ken Christensen | 28 | 92.85% | 92.07% | ▲ +0.8% | 98.43% |
| TJ Evans | 31 | 86.62% | 86.88% | ▼ -0.3% | 93.91% |
| Thomas Miller | 34 | 86.96% | 87.32% | ▼ -0.4% | 94.87% |
| Tony Frankovic | 36 | 87.23% | 86.93% | ▲ +0.3% | 93.91% |

## Stores Requiring Attention — Lowest Ref TnT

| Store | RM | Current | 30-Day | 90-Day | Trend | Cases OOT |
| --- | --- | --- | --- | --- | --- | --- |
| 8251 | Justin Burner | 65.0% | 64.3% | 74.4% | ▼ -9.4% | 34 |
| 1265 | Justin Burner | 75.1% | 73.4% | 72.9% | ▲ +2.2% | 53 |
| 1188 | Justin Burner | 76.7% | 80.2% | 61.3% | ▲ +15.4% | 60 |
| 1151 | Thomas Miller | 76.9% | 79.7% | 71.0% | ▲ +5.9% | 82 |
| 8207 | Tony Frankovic | 77.0% | 78.3% | 78.8% | ▼ -1.7% | 42 |
| 2694 | TJ Evans | 77.2% | 75.7% | 83.8% | ▼ -6.5% | 51 |
| 4741 | TJ Evans | 77.7% | 74.4% | 79.3% | ▼ -1.6% | 46 |
| 8163 | Tony Frankovic | 77.8% | 81.8% | 81.8% | ▼ -4.1% | 64 |
| 4875 | Justin Burner | 78.0% | 66.8% | 73.0% | ▲ +4.9% | 34 |
| 2600 | TJ Evans | 78.1% | 75.3% | 86.4% | ▼ -8.2% | 90 |
| 2490 | Thomas Miller | 78.4% | 85.0% | 84.7% | ▼ -6.3% | 9 |
| 4611 | Thomas Miller | 78.9% | 83.7% | 83.8% | ▼ -4.9% | 40 |
| 234 | Tony Frankovic | 79.5% | 75.7% | 85.8% | ▼ -6.3% | 79 |
| 159 | Tony Frankovic | 79.7% | 79.8% | 81.1% | ▼ -1.3% | 71 |
| 4985 | Ken Christensen | 80.0% | 81.9% | 76.8% | ▲ +3.1% | 23 |

## Monthly Detail — All Metrics

| Month | Ref TnT | HVAC TnT | AHU | RTU | Total Loss |
| --- | --- | --- | --- | --- | --- |
| Jan '25 | 84.37% | — | — | — | $706,360 |
| Feb '25 | 85.31% | — | — | — | $545,048 |
| Mar '25 | 86.26% | 96.74% | 98.0% | 95.48% | $746,772 |
| Apr '25 | 86.19% | 96.56% | 97.42% | 95.69% | $746,008 |
| May '25 | 85.56% | 96.97% | 97.59% | 96.35% | $856,526 |
| Jun '25 | 83.13% | 94.54% | 94.75% | 94.33% | $1,155,661 |
| Jul '25 | 81.99% | 91.78% | 90.57% | 92.98% | $1,323,185 |
| Aug '25 | 83.50% | 94.52% | 94.51% | 94.52% | $1,016,239 |
| Sep '25 | 84.99% | 96.23% | 96.64% | 95.82% | $748,320 |
| Oct '25 | 85.71% | 96.03% | 96.63% | 95.43% | $665,762 |
| Nov '25 | 87.04% | 94.66% | 95.72% | 93.6% | $665,193 |
| Dec '25 | 86.60% | 92.72% | 95.24% | 90.2% | $763,418 |
| Jan '26 | 86.19% | 91.98% | 95.42% | 88.55% | $708,046 |
| Feb '26 | 86.59% | 92.58% | 95.88% | 89.28% | $201,679 |

## Data Sources & Methodology

• Ref TnT (Monthly): Dashboard snapshot export — 37 months (Feb 23–Feb 26)

• Ref TnT (Rolling): store_tabular_view — Current/7d/30d/90d per store

• HVAC TnT: ahu/rtu_hvac_time_in_target_score — 12 months (Mar 25–Feb 26)

• Product Loss: ds_product_loss — 14 months (Jan 25–Feb 26)

• Rack Scorecard: dip_rack_scorecard — 8 months (Jul 25–Feb 26)

• Note: Ref TnT monthly is fleet-level (not per-store). Rolling data is per-store via BQ.

Confidential — Walmart Facilities Management